## Notes_Information
CEDEN Chemistry Template Documentation
http://www.ceden.org/ceden_datatemplates.shtml
CEDEN Online LookUp Lists
http://ceden.org/CEDEN_checker/Checker/LookUpLists.php
CEDEN New Vocabulary Requests
http://www.ceden.org/vocabulary_request.shtml
CEDEN Online Data Checker
Statewide Checker
http://ceden.org/CEDEN_checker/Checker/
CV RDC
http://checker.cv.mpsl.mlml.calstate.edu/CVRDC/CVRDCUpload.php
SFEI Data Center
http://rdcdataupload.sfei.org/
MPSL-MLML Data Center
http://checker.calducs.mpsl.mlml.calstate.edu/calducs
If you do not know what data center to utilize, use the following link: http://ceden.org/data_centers.shtml
Notes for all tabs
Location | This tab should only be filled out if actual latitude and longitude measurements are being recorded.
1. Bolded Green text indicates a Minimum/Required field necessary for loading data into CEDEN
2. Black bolded text indicates a Desireable/Default Required field to help increase the usability of the data by CEDEN users. Desireable/Default Required fields cannot be left blank and must be populated with a default value if an actual value cannot be provided.
3. Cells with orange text and grey background indicate an extra field used for additional information and completeness purposes. Although not required, it is desireable that you provide this information if available.
* | Please see the notation/comment box located in the top right corner of the column headers to view the name of the corresponding LookUp List, any associated Default Values, and/or proper formatting for each field.
Template Updates
2014-02-14 | Bacteria examples have been added to this template to provide guidance to data submitters
2014-05-27 | LabBatches listed in ChemResults tab have been added to the LabBatch tab
2016-07-05 | Updated links; created blank template in addition to existing template with examples; modified example data; changed not required fields to have orange, unbolded text; added instruction that Station tab can be left blank; added macros to help entry of the the correct CollectionTime format
2017-01-03 | Removed Stations tab and references to it.
2019-01-07 | Updated links; removed reference to conditionally required fields (fields highlighted blue necessary for bioassessment); added references to appropriate variable codes list, as applicable; removed first two rows up template to clear up formatting problem
2023-03-17 | Added Active Sampler Example data; added link to statewide checker on the Notes tab

## Locations
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CoordinateNumber | ActualLatitude | ActualLongitude | Datum | CoordinateSource | Elevation | UnitElevation | StationDetailVerBy | StationDetailVerDate | StationDetailComments
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 1 | 37.9182 | -121.945 | WGS84 | GPS
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 1 | 38.1172 | -122.0397 | NAD83 | GPS
205COY610 | 06/May/2009 | RWB2_Ref_2009 | WQ | MPSL-DFG_Field_v1.0 | RWQCB2 |  | Midchannel | Point | 1 | 38.1758 | -122.8189 | WGS84 | GPS
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded
Note on F1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded
Note on I1: LookUp List: VariableCodesLookUp; GeometryShapeList
Note on J1: Default Value: 1
Note on M1: LookUp List: VariableCodesLookUp; DatumList Default Value: NR
Note on N1: LookUp List: VariableCodesLookUp; CoordinateSourceList Default Value: NR
Note on P1: LookUp List: VariableCodesLookUp; UnitElevationList

## ChemResults
StationCode | SampleDate | ProjectCode | EventCode | ProtocolCode | AgencyCode | SampleComments | LocationCode | GeometryShape | CollectionTime | CollectionMethodCode | SampleTypeCode | Replicate | CollectionDeviceName | CollectionDepth | UnitCollectionDepth | PositionWaterColumn | LabCollectionComments | LabBatch | AnalysisDate | MatrixName | MethodName | AnalyteName | FractionName | UnitName | LabReplicate | Result | ResQualCode | MDL | RL | QACode | ComplianceCode | DilutionFactor | ExpectedValue | PrepPreservationName | PrepPreservationDate | DigestExtractMethod | DigestExtractDate | SampleID | LabSampleID | LabResultComments
Sediment Chemistry
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Sed_Grab | Integrated | 1 | scoop, polyethylene | 2 | cm | Not Applicable |  | WPCL_L-024-226-09_BS559_S_PAH | 2009-08-25 | sediment | EPA 8270M | Acenaphthene | Total | ng/g dw | 1 |  | ND | 0.789 | 0.789 | SC | QualH | 1 |  | LabFrozen | 2009-04-30 | EPA 3545_3610B_3630C_3640A | 2009-08-11 |  | L-222-09-6
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Sed_Grab | Integrated | 1 | scoop, polyethylene | 2 | cm | Not Applicable |  | WPCL_L-024-226-09_BS559_S_PAH | 2009-08-25 | sediment | EPA 8270M | Acenaphthene-d10(Surrogate) | Total | % recovery | 1 | 83.7 | = | 0.5 | 0.5 | None | Com | 1 | 100 | LabFrozen | 2009-04-30 | EPA 3545_3610B_3630C_3640A | 2009-08-11 |  | L-222-09-6
Water Chemistry
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.1 | m | Subsurface | Field dup taken | WPCL_L-222-226-09_W_OCH | 2009-05-21 | samplewater | EPA 8081BM | Aldrin | Total | ug/L | 1 |  | ND | 0.001 | 0.002 | None | Com | 1 |  | None | 1950-01-01 | EPA 3510C | 2009-05-01 |  | L-222-09-6
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 2 | Individual Collection by hand | 0.1 | m | Subsurface |  | WPCL_L-222-226-09_W_OCH | 2009-05-21 | samplewater | EPA 8081BM | Aldrin | Total | ug/L | 1 | 0.008 | = | 0.001 | 0.002 | None | Com | 1 |  | None | 1950-01-01 | EPA 3510C | 2009-05-01 |  | L-222-09-7
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.1 | m | Subsurface |  | MPSL-DFG_WTM071509_W_TM | 2009-07-15 | samplewater | EPA 1638M | Aluminum | Dissolved | ug/L | 1 | 2.70 | DNQ | 1.7 | 5 | J,MN | Com | 1 |  | FieldFiltered, LabAcidified | 2009-04-30 09:40 | None | 1950-01-01 |  | 2009-1037
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.1 | m | Subsurface |  | WPCL_L-222-226-09_W_TRIAZ | 2009-06-12 | samplewater | EPA 619M | Ametryn | Total | ug/L | 1 |  | ND | 0.002 | 0.005 | None | Com | 1 |  | None | 1950-01-01 | EPA 3510C | 2009-05-04 |  | L-222-09-6
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | Individual Collection by hand | 0.1 | m | Subsurface |  | WPCL_4832_W_NH3 | 2009-05-22 | samplewater | QC 10107061G | Ammonia as N | Dissolved | mg/L | 1 | 0.862 | = | 0.01 | 0.2 | D | Com | 10 |  | LabFiltered, LabAcidified | 2009-04-29 | None | 1950-01-01 |  | L-222-09-18
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | MS1 | 1 | Not Recorded | 0.1 | m | Not Applicable |  | MPSL-DFG_WTM071509_W_TM | 2009-07-15 | samplewater | EPA 1638M | Nickel | Dissolved | ug/L | 1 | 35.8 | = | 0.01 | 0.03 | None | Com | 1 | 38.2 | FieldFiltered, LabAcidified | 2009-04-30 09:40 | None | 1950-01-01 |  | 2009-1037-ms | PR 90.1
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | MS2 | 1 | Individual Collection by hand | 0.1 | m | Subsurface |  | SFL_170690_W_B | 2009-05-13 09:00 | samplewater | EPA 200.7 | Boron | Total | mg/L | 1 | 5.67 | = | 0.0032 | 0.05 | None | Com | 1 | 5.71 | FieldAcidified | 2009-04-28 | EPA 200.2 | 2009-05-07 09:00 |  | 666783MS | PR 99.2
LABQA | 28/Apr/2009 | Not Applicable | WQ | Not Applicable | DFG-WPCL |  | Not Applicable |  | 00:00 | Not Applicable | CRM | 1 | None | -88 | m | Not Applicable |  | WPCL_4798_W_CL | 2009-05-14 | blankwater | EPA 300.0 | Chloride | Total | mg/L | 1 | 1.06 | = | 0.1 | 0.25 | NR | Com | 1 | 1.17 | None | 1950-01-01 | None | 1950-01-01 |  | IWS-Min-09-50B | PR 90.6
LABQA | 28/Apr/2009 | Not Applicable | WQ | Not Applicable | DFG-WPCL |  | Not Applicable |  | 00:00 | Not Applicable | CRM | 1 | None | -88 | m | Not Applicable |  | WPCL_4753_W_SO4 | 2009-05-06 | blankwater | EPA 300.0 | Sulfate | Total | mg/L | 1 | 2.81 | = | 0.25 | 0.5 | NR | Com | 1 | 2.91 | None | 1950-01-01 | None | 1950-01-01 |  | IWS-Min-09-51B | PR 96.6
LABQA | 28/Apr/2009 | Not Applicable | WQ | Not Applicable | DFG-WPCL |  | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | None | -88 | m | Not Applicable |  | WPCL_4798_W_CL | 2009-05-14 | blankwater | EPA 300.0 | Chloride | Dissolved | mg/L | 1 |  | ND | 0.1 | 0.25 | VQCA | Com | 1 |  | LabFiltered | 2009-05-08 | None | 1950-01-01 |  | Method Blank
Bacteria
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | RWQCB5S Sampling pole w/adjustable head | 0.1 | m | Subsurface |  | RWB5S_STS_ARW110711_W_Bac | 2009-04-28 18:40 | samplewater | SM 9223 B-SOP ASWAU | E. coli | None | MPN/100 mL | 1 | 866.4 | = | 1 | 1 | None | Com | 1 |  | Antifoam, Media | 2009-04-28 17:30 | None | 1950-01-01 | ARW110711-19A | ARW110711-19A
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | RWQCB5S Sampling pole w/adjustable head | 0.1 | m | Subsurface |  | RWB5S_STS_ARW110711_W_Bac | 2009-04-28 18:40 | samplewater | SM 9223 B-SOP ASWAU | E. coli | None | MPN/100 mL | 2 | 727.0 | = | 1 | 1 | None | Com | 1 | 866.4 | Antifoam, Media | 2009-04-28 17:30 | None | 1950-01-01 | ARW110711-34LD | ARW110711-19A-Dup | RPD 17.5
FIELDQA | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Not Applicable |  | 00:00 | Not Applicable | TravelBlank | 1 | None | -88 | m | Not Applicable |  | RWB5S_STS_ARW110711_W_Bac | 2009-04-28 18:40 | blankwater | SM 9223 B-SOP ASWAU | E. coli | None | MPN/100 mL | 1 |  | ND | 1 | 1 | None | Com | 1 |  | Antifoam, Media | 2009-04-28 17:30 | None | 1950-01-01 | ARW110711-31TB | ARW110711-31TB
LABQA | 28/Apr/2009 | Not Applicable | WQ | Not Applicable | RWQCB5S |  | Not Applicable |  | 00:00 | Not Applicable | LabBlank | 1 | None | -88 | m | Not Applicable |  | RWB5S_STS_ARW110711_W_Bac | 2009-04-28 18:40 | blankwater | SM 9223 B-SOP ASWAU | E. coli | None | MPN/100 mL | 1 |  | ND | 1 | 1 | None | Com | 1 |  | Antifoam, Media | 2009-04-28 17:30 | None | 1950-01-01 | ARW110711-35LB | ARW110711-35LB
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | RWQCB5S Sampling pole w/adjustable head | 0.1 | m | Subsurface |  | RWB5S_STS_ARW110711_W_Bac | 2009-04-28 18:40 | samplewater | SM 9223 B-SOP ASWAU | Coliform, Total | None | MPN/100 mL | 1 | 2419.6 | > | 1 | 1 | None | Com | 1 |  | Antifoam, Media | 2009-04-28 17:30 | None | 1950-01-01 | ARW110711-19A | ARW110711-19A
723NROTWM | 28/Apr/2009 | RWB7_Trend_2009 | WQ | MPSL-DFG_Field_v1.0 | MPSL-DFG |  | Bank | Point | 16:55 | Water_Grab | Grab | 1 | RWQCB5S Sampling pole w/adjustable head | 0.1 | m | Subsurface |  | RWB5S_STS_ARW110711_W_Bac | 2009-04-28 18:40 | samplewater | SM 9223 B-SOP ASWAU | Coliform, Total | None | MPN/100 mL | 2 | 2419.6 | > | 1 | 1 | None | Com | 1 | 2419.6 | Antifoam, Media | 2009-04-28 17:30 | None | 1950-01-01 | ARW110711-34LD | ARW110711-19A-Dup | RPD 0.0
Passive Sampler (see additional guidance in Appendix C of the Chemistry Data Submission Guidance Document)
723NROTWM | 2022-03-30 | SWRCB_PassSamp_2022 | WQ | SWRCB_PassiveSampling_v1.0 | SWRCB |  | Bank |  | 16:00 | PassiveSampler | Integrated | 1 | Chemcatcher_SDB-RPS-empore_47_PES DLM_0.1 | -88 | m | Subsurface | 14 days | W0A0034 | 2022-04-02 | Extract_Samplewater | EPA 525.2M | Diazinon | Dissolved | ug/sorbent | 1 |  | ND | 2.6 | 5 | None | NR | 1 |  | FieldFiltered | 2022-03-30 16:00 | EPA 525.2M | 2022-04-01 10:00
MULE58U | 2022-03-30 | SWRCB_PassSamp_2022 | WQ | SWRCB_PassiveSampling_v1.0 | SWRCB |  | Bank |  | 16:00 | PassiveSampler | Integrated | 1 | SPMD_91.4 | -88 | m | Subsurface | 14 days | WH0078 | 2022-04-02 | samplewater | SPMD Water Concentration Estimator v5-2 | Heptachlor | Dissolved | pg/L | 1 |  | ND | 1 | 2 | None | NR | 1 |  | FieldFiltered | 2022-03-30 16:00 | EPA 525.2M | 2022-04-01 10:00
Active Sampler (data from devices with moving parts to pull in known quantities of water across a media; report analyte mass per sample water volume)
106WE0574 | 2022-06-03 | SWRCB_ActSamp_2022 | WQ | SWRCB_ActiveSampling_v1.0 | SWRCB |  | Bank | Point | 11:30 | ActiveSampler7-13d | Integrated | 1 | CLAM_SPE-C18 | 2 | in | Subsurface |  | B233516 | 2022-06-04 09:00 | sampewater | EPA 1668C | PCB 002 | Total | pg/L | 1 |  | ND | 11.9 | 20.2 | None | NR | 1 |  | None | 1950-01-01 | None | 1950-01-01 | 20220603106WE0574-1 | SA-45609
Dry01 | 2022-05-02 | SWRCB_ActSamp_2022 | WQ | SWRCB_ActiveSampling_v1.0 | SWRCB |  | Bank | Point | 06:00 | ActiveSampler0-6d | Integrated | 1 | CLAM_HLB | 0.1 | m | Subsurface | Duration of deployment 1.5 days | LS1_229 | 2022-05-04 11:00 | sampewater | EPA 8141AM | Chlorpyrifos | Dissolved | pg/L | 1 | 0.06 | = | 0.0060 | 0.02 | None | Com | 1 |  | FieldFiltered | 2022-05-02 06:00 | None | 1950-01-01 | 20220502-1 | 2202-L1885
Dry01 | 2022-05-02 | SWRCB_ActSamp_2022 | WQ | SWRCB_ActiveSampling_v1.0 | SWRCB |  | Bank | Point | 06:00 | ActiveSampler0-6d | Integrated | 1 | CLAM_HLB | 0.1 | in | Subsurface | Duration of deployment 1.5 days | LP1_105 | 2022-05-04 11:00 | sampewater | EPA 8141AM | Chlorpyrifos | Particulate | ug/L | 1 | 0.03 | = | 0.0046 | 0.01 | None | Com | 1 |  | FieldFiltered | 2022-05-02 06:00 | None | 1950-01-01 | 220211239R30SOM | SA-13554
Note on A1: LookUp List: StationLookUp
Note on B1: Format: dd/mmm/yyyy Default Value: 01/Jan/1950
Note on C1: LookUp List: ProjectLookUp
Note on D1: LookUp List: EventLookUp
Note on E1: LookUp List: ProtocolLookUp Default Value: Not Recorded LabQA Samples: Not Applicable
Note on F1: Lookup List: AgencyLookUp Default Value: Not Recorded
Note on H1: LookUp List: LocationLookUp Default Value: Not Recorded LabQA Samples: Not Applicable
Note on I1: LookUp List: VariableCodesLookUp; GeometryShapeList
Note on J1: Format: hh:mm Default Value: 00:00 Note: If highlighted, incorrect format used
Note on K1: LookUp List: CollectionMethodLookUp Default Value: Not Recorded LabQA Samples: Not Applicable
Note on L1: LookUp List: SampleTypeLookUp Default Value: Not Recorded
Note on M1: Default Value: 1
Note on N1: LookUp List: CollectionDeviceLookUp Default Value: Not Recorded
Note on P1: LookUp List: VariableCodesLookUp; UnitCollectionDepthList
Note on Q1: LookUp List: VariableCodesLookUp; PositionWaterColumnList Default: Not Applicable
Note on T1: Format: dd/mmm/yyyy hh:mm Default Value: 01/Jan/1950 00:00
Note on U1: LookUp List: MatrixLookUp Default Value: Not Recorded
Note on V1: LookUp List: MethodLookUp Default Value: Not Recorded
Note on W1: LookUp List: AnalyteLookUp
Note on X1: LookUp List: FractionLookUp
Note on Y1: LookUp List: UnitLookUp
Note on Z1: Default: 1
Note on AA1: Result may be left blank as long as an appropriate ResQualCode is provided
Note on AB1: LookUp List: ResQualLookUp Default Value: =
Note on AC1: Default Value: -88
Note on AD1: Default Value: -88
Note on AE1: LookUp List: QALookUp Default Value: NR. If unknown. Default Value: None. Indicates no special conditions.
Note on AF1: LookUp List: ComplianceLookUp Default Value: NR
Note on AG1: Default Value: 1
Note on AI1: LookUp List: PrepPreservationLookUp Default Value: Not Recorded
Note on AJ1: Format: dd/mmm/yyyy hh:mm Default Value: 01/Jan/1950 00:00
Note on AK1: LookUp List: DigestExtractLookUp Default Value: Not Recorded
Note on AL1: Format: dd/mmm/yyyy hh:mm Default Value: 01/Jan/1950 00:00

## LabBatch
LabBatch | LabAgencyCode | LabSubmissionCode | BatchVerificationCode | SubmittingAgencyCode | LabBatchComments
MPSL-DFG_WTM071509_W_TM | MPSL-DFG | A | VAC | MPSL-DFG
SFL_170690_W_B | SFL | A | VAC | SFL | MDL/RL raised for lab for dilution
WPCL_4753_W_SO4 | DFG-WPCL | A | VAC | DFG-WPCL | QC is w/ L-222-09, raised MDL and added D code for lab
WPCL_4832_W_NH3 | DFG-WPCL | A | VAC | DFG-WPCL | QC is w/ L-217-09, raised MDL and added D code for lab
WPCL_L-024-226-09_BS559_S_PAH | DFG-WPCL | A,MD | VAC | DFG-WPCL | SRM analyzed at a secondary dilution. Analytes hi %R SRM & MSD. Hi & low %R surrogate. Analytes high in sample & lab dup RPD.
WPCL_L-222-226-09_W_TRIAZ | DFG-WPCL | A,MD | VAC | DFG-WPCL | RPD analytes exceed lab cntrl lmt for MS & MSD.
WPCL_4798_W_CL | DFG-WPCL | A | VAC | DFG-WPCL | raised MDL and added D code for lab
WPCL_L-222-226-09_W_OCH | DFG-WPCL | A,MD | VAC | DFG-WPCL | RPD analytes exceed lab cntrl lmt for MS & MSD, LCS & LCSD.
RWB5S_STS_ARW110711_W_Bac | RWQCB5S | A,MD | VAC | RWQCB5S | Bacteria processing performed in house, field blanks and field duplicates performed
Note on B1: LookUp List: AgencyLookUp Default Value: Not Recorded
Note on C1: LookUp List: LabSubmissionLookUp Default Value: NR
Note on D1: LookUp List: BatchVerificationLookUp Default Value: NR
Note on E1: LookUp List: AgencyLookUp